## Slide 1: State of Advancement AI4TB
Presented by : Manal Karmoude
Submitted at : 19/12/2024

## Slide 2: Dataset :
Class Distribution:
Normal Cases: 🟢 3,500 images "These represent healthy individuals with no signs of tuberculosis."
Tuberculous Cases: 🔴 700 images "Images of individuals diagnosed with tuberculosis, highlighting areas of infection."

## Slide 3: Dataset :
Preprocessing Pipeline for Chest X-ray Dataset :
Resizing:
All images are resized to 224x224 to standardize input dimensions for the ResNet model.
Normalization:
Applied per-channel normalization with:
  Mean: [0.5, 0.5, 0.5]
  Standard Deviation: [0.5, 0.5, 0.5]

## Slide 4: Dataset :
Class Imbalance Handling:
Class Weights:
  Normal: 1/3500
  Tuberculous: 1/700

## Slide 5: Model Architecture :
Pretrained Model:
Base Model: ResNet-34
Base Model : ResNet-18
Modified for Binary Classification:
Final Fully Connected Layer adjusted to classify:
  Normal
  Tuberculous

## Slide 6: Model ResNet34 :

## Slide 7: Model ResNet34 :
Batch Size | Epochs | Class Imbalance | Validation Loss | Validation Accuracy
32 | 10 | Addressed using Class Weights (Normal: 1/3500, Tuberculous: 1/700) | 0.0430 | 99.29%

## Slide 8: Model ResNet18 :

## Slide 9: Model ResNet18 :
Batch Size | Epochs | Class Imbalance | Validation Loss | Validation Accuracy
32 | 10 | Addressed using Class Weights (Normal: 1/3500, Tuberculous: 1/700) | 0.0076 | 95.32%

## Slide 10: Apply CLAHE (Contrast Limited Adaptive Histogram Equalization) :